National Association of Clean Air Agencies

State/Local Mercury/Toxics Programs for Utilities

July 16, 2009

| State or Local Agency | State’s strategy for addressing emissions of mercury and other HAPs from EGUs following vacatur of Clean Air Mercury Rule (e.g., we have implemented or are implementing our own state rule [please describe briefly]; we are developing a state rule [please briefly describe]; we are awaiting the promulgation of the new federal MACT rule for EGUs.) | State/Local Contact Information | Additional Information or Comments (including link to regulations) |
| --- | --- | --- | --- |
| Region 1 |
| Connecticut | Emissions from coal-fired electric generating units (EGUs) are limited to 0.6 lbs Hg/TBtu or a 90% reduction pursuant to section 22a-199 of the Connecticut General Statutes; compliance is determined through quarterly stack testing. The owner or operator of any coal-fired EGU is required to apply for and obtain a new source review permit pursuant to section 22a-174-3a(n) of the Regulations of Connecticut State Agencies. | Ric Pirolli 860-424-3450 | CGS section 22a-199: http://www.cga.ct.gov/2007/pub/Chap446c.htm#Sec22a-199.htm RCSA section 22a-174-3a: http://www.ct.gov/dep/lib/dep/air/regulations/mainregs/sec3a.pdf |
| Maine | Waiting for federal MACT. Statutory limits applicable to all facilities in state – 35 lb/year, reduced to 25 lb/year January 2010. | Lisa Higgins: (207) 287-7023 Lisa.Higgins@maine.gov |  |
| Massachusetts | Adopted rule 310 CMR 7.29 requires 85% capture or 0.0075 lb/GW-hr by 1/1/2008 and 95% capture or 0.0025 lb/GW-hr by 10/1/2012. Averaging between units at the same facility allowed. Requires continuous Hg monitoring by 1/1/2008. Hg monitoring rulemaking replacing vacated Part 75 provisions under development. Expected late 2009. | Patricio Silva: (617) 654-6575 Patricio.silva@state.ma.us | http://www.mass.gov/dep/service/regulations/regsarch.htm#camr |
| New Hampshire |  |  |  |
| Rhode Island | RI has no applicable EGUs. | Barbara Morin barbara.morin@dem.ri.gov |  |
| Vermont |  |  |  |
| Region 2 |
| New Jersey | Adopted state rule requires control efficiency of 90% or 3 mg/MW-hr by 12/15/2007, for coal-fired boilers of any size. A multi-pollutant approach can reduce the initial reduction required and extend compliance to 12/15/2012. | Sunila Agrawal (609) 292-9202 Sunila.Agrawal@dep.state.nj.us | http://www.state.nj.us/dep/aqm/Sub27.pdf |
| New York | On 1/27/07, NYSDEC promulgated 6NYCRR Part 246 for the control of mercury emissions from coal-fired electric utility steam generating units that incorporates a Phase I emission cap in the years 2010-2014 and beginning in 2015 establishes a unit-based emission limit for each applicable unit. Phase I of the state proposal will impose annual facility-wide mercury emission limitations, based upon the state mercury budget EPA distributed to New York under the delisted CAMR. The annual facility-wide emission limitations will be in effect from 2010 to 2014. Starting in 2015, Phase II, in conjunction with other electric sector regulations such as the Regional Greenhouse Gas Initiative (RGGI) and the second phase of the Clean Air Interstate Rule (CAIR), the state mercury regulation will establish a facility-wide emission limit for Hg 0.6 lbs Hg/TrBtu. | Steve DeSantis sxdesant@gw.state.ny.us | Details of the regulation can be found at: www.dec.state.ny.us/website/dar/air_regs.html#recent Annual Stack testing was required for the years 2008 and 2009. Hg CEMs have been installed and operating since 2009. New York has three operating CEMs and one Appendix K sorbent tube methodology. |
| Region 3 |
| Delaware | Delaware promulgated Regulation 1146 in December 2006. Regulation 1146 implements Hg emissions limits for Delaware’s large (>25MW) coal-fired EGUs in two phases. Phase 1 became effective January 1, 2009 and implemented a Hg emission rate limit of 1.0 lb/TBTU, or 80% reduction from baseline. Phase 2 becomes effective January 1, 2013 and implements a Hg emissions rate limit of 0.6 lb/TBU, or 90% reduction from baseline. For coal-fired units subject to Regulation 1146, the regulation established annual Hg mass emissions caps for each individual unit (trading for compliance is not permitted). The Hg mass emissions caps are also implemented in a staged manner, with Phase 1 running 2009 through 2012, and a more stringent Phase 2 for 2013 and beyond. | Robert Clausen robert.clausen@state.de.us | Regulation 1146 may be found at: http://regulations.delaware.gov/AdminCode/title7/1000/1100/1146.shtml#TopOfPage |
| Maryland |  |  |  |
| Pennsylvania | PA Mercury Rule was vacated by the Commonwealth Court. The Department has appealed this ruling to the PA Supreme Court. | Daniel Husted dhusted@state.pa.us |  |
| Virginia |  |  |  |
| West Virginia |  |  |  |
| Region 4 |
| Alabama |  |  |  |
| Florida |  |  |  |
| Georgia |  |  |  |
| Kentucky | Kentucky is awaiting the new federal MACT. | John Lyons john.lyons@ky.gov |  |
| Mississippi | Mississippi is awaiting the new federal MACT. | BJ Hailey B_J_Hailey@deq.state.ms.us |  |
| North Carolina | North Carolina is realizing major reductions of mercury emissions from coal-fired boilers as a direct cobenefit of the N.C. Clean Smokestacks Act in 2002 (G.S. 143-215.107D). NC anticipates additional reductions of atmospheric mercury as a result of CAIR. NC mercury rule for coal-fired EGUs requires a mercury emission control plan from each utility on January 1, 2013 that identifies the technology proposed for use at each unit owned or operated by the utility; the schedule for installation and operation of mercury controls at each unit; and shall identify any units that will be shut down. Any unit that has not installed controls as specified in an approved mercury control plan by December 31, 2017 shall be shut down. | Technical contacts: Michael Abraczinskas (919) 715-3743 michael.abraczinskas@ncdenr.gov Paul Grable (919) 733-1468 paul.grable@ncdenr.gov | http://daq.state.nc.us/rules/rules/D2511.pdf |
| South Carolina |  |  |  |
| Tennessee | TN is waiting for promulgation of the new federal MACT. | Travis Blake (615) 532-0617 Travis.blake@state.tn.us Elizabeth Peeler (615) 532-9200 |  |
| Region 5 |
| Illinois | Illinois has adopted a state rule regulating mercury (Hg) emissions from coal fired power plants, beginning in July 2009. The basic components of the rule are: PHASE I: (thru December 31, 2012) 90% reduction from input Hg emissions or an output based emission standard of 0.008 lb/GW-hr on a system-wide basis. (Hg reduction of at least 75 % input, or meet a Hg emission standard of 0.02 lb GW-hr output basis, required on a plant by plant basis.) A Temporary Technology Based Standard (TTBS) available for up to 25% of a system’s capacity, allowing the system to select units to be “excused” from the specified Hg reduction rates. To qualify for a TTBS, the eligible units must have ACI and must inject sorbent at a specified rate. TTBS available until June 1, 2015. PHASE II: (beginning January 1, 2013 and beyond) 90% reduction from input Hg emissions or an output based emission standard of 0.008 lb/GW-hr on a plant by plant basis. A Temporary Technology Based Standard (TTBS) available for up to 25% of a system’s capacity, allowing the system to select units to be “excused” from the specified Hg reduction rates. To qualify for a TTBS, the eligible units must have ACI and must inject sorbent at a specified rate. TTBS available until June 1, 2015. ALTERNATIVE – MPS & CPS: Systems may opt-in to a multi pollutant compliance approach (MPS) and combined pollutant standard approach (CPS) for SO2, NOx and Hg. Installation of Hg controls designed to meet 90% removal and a minimum sorbent injection rate through 2014 required on at least 96% of capacity. Systems participating in an MPS or CPS may exempt units representing 4% of capacity or less from Hg control until 12/31/2012. These units must install Hg control and meet minimum sorbent injection rates beginning January 1, 2013. Beginning January 1, 2015, MPS & CPS systems must meet 90% reduction from input Hg emissions or an output based emission standard of 0.008 lb/GW-hr on a plant by plant basis. (The units representing 4% or less of capacity do not have to get 90% reduction.) The MPS and CPS for SO2 and NOx vary by system—based on age of units, coal type, interim and final emission rates and compliance deadlines. | Laurel Kroack 217-785-4140 laurel.kroack@illinois.gov Jim Ross jim.ross@illinois.gov | The Illinois Hg rules (which include the multi-pollutant standards and combined pollutant standards) can be found at http://www.ipcb.state.il.us/SLR/IPCBandIEPAEnvironmentalRegulations-Title35.asp. 35 Ill. Adm. Code Part 225, “Control of Emissions from Large Combustion Sources,” Subparts B & F. |
| Indiana |  |  |  |
| Michigan | MI is developing a state rule that requires mercury reductions starting in 2015. The basic components include three compliance options: A minimum of 90% reduction* from baseline input mercury levels or an output-based emission standard of 0.008 lb/GW-hr*. A multi-pollutant compliance demonstration project which must achieve 75% reduction* from baseline input mercury levels along with significant reductions in nitrogen oxides and sulfur dioxide. Very Low Mass Emitting (VLME) unit that is limited to 9 pounds of mercury per 12-month rolling time period with an alternative compliance demonstration project. * 12-month rolling average basis. The rules include the compliance options, technical and economic exceptions, monitoring, testing, record keeping, and implementation. Other HAPs (including mercury) are currently regulated under the state toxics rules. | Technical contact: Julie Brunner 517-373-7088 brunnerj1@michigan.gov Administrative rules contact: Teresa Cooper 517-335-2247 coopert@michigan.gov | The state rules have gone out for public comment as three rule packages. Part 15, Part 10, and Part 11 proposed amendments can be found at: http://www.deq.state.mi.us/apcrats/proposed_amendments.shtml |
| Minnesota |  |  |  |
| Ohio |  |  |  |
| Wisconsin | WI is implementing its own state rule. A revised mercury rule became effective December 1, 2008. Under the rule, the state’s large coal-fired power plants (those with a nameplate capacity of 150 Megawatts (MW) and greater) must achieve a 90% mercury emission reduction through one of two compliance paths. 1. Achieve a 90% mercury reduction or limit the concentration of mercury emissions to 0.0080 pounds of mercury per gigawatt-hour by January 1, 2015. Or 2. An additional six years (until January 1, 2021) to achieve a 90% mercury emission standard is allowed under a multipollutant option that requires a nitrogen oxides (NOx) emission standard of 0.07 pounds of NOx per million BTU and a sulfur dioxide (SO2) emission standard of 0.10 pounds of SO2 per million BTU by January 1, 2015. An interim mercury reduction goal is established that targets January 1, 2015 to achieve a 70% mercury reduction or limiting the concentration of mercury emissions to 0.0190 pounds of mercury per gigawatt-hour. Beginning January 1, 2018 an 80% mercury reduction or limiting the concentration of mercury emissions to 0.0130 pounds of mercury per gigawatt-hour must be achieved. The percent reduction standard is measured from the mercury content in the coal combusted. Small coal-fired power plants (> 25 MW and < 150 MW) must reduce their mercury emissions to a level defined as Best Available Control Technology (BACT) by January 1, 2015. In addition, Wisconsin’s four major utilities, Dairyland Power Cooperative, We Energies, Wisconsin Power & Light Company and Wisconsin Public Service Corporation, must reduce their mercury emissions 40% by January 1, 2010. | Jon Heinrich jon.heinrich@wisconsin.gov Tom Karman thomas.karman@wisconsin.gov | www.legis.state.wi.us/rsb/code/nr/nr446.pdf |
| Region 6 |
| Arkansas | AR is awaiting further direction from EPA before proceeding with regulations to control mercury emissions from EGUs. | Elizabeth Sartain (501) 682-0719 Sartain@adeq.state.ar.us |  |
| Louisiana |  |  |  |
| New Mexico |  |  |  |
| Oklahoma |  |  |  |
| Texas |  |  |  |
| Region 7 |
| Iowa | Iowa is waiting for a new federal MACT rule but is also developing alternative mercury monitoring requirements for EGUs. The alternative requirements are for mercury monitoring only (they do not establish emission limits or control requirements) and are expected to be finalized in late Fall 2009. | Christine Paulson (515) 242-5154 christine.paulson@dnr.iowa.gov |  |
| Kansas | KS is waiting for a new federal MACT rule. | Miles Stotts mstotts@kdheks.gov | Using case-by-case for new sources as needed. |
| Missouri | MO is awaiting the promulgation of the new federal MACT rule for EGUs. | Aaron Basham 573 751-4817 aaron.basham@dnr.mo.gov | New sources reviewed on a case by case basis. |
| Nebraska | NE is waiting for a new federal MACT rule. | Melissa Ellis melissa.ellis@nebraska.gov | Using case-by-case for new sources as needed. |
| Region 8 |
| Colorado | State-only rule sets Hg standards for existing, new, modified and reconstructed coal-fired power plants on a rolling 12-month average basis, exempting low emitters and new units with existing permits in place. Existing units are subject to the following: 2012: Pawnee and Rawhide 0.0174 lb/GWh or 80% inlet Hg capture; 2014: 0.0174 lb/GWh or 80% inlet Hg capture; and 2018: 0.0087 lb/GWh or 90% inlet Hg capture. New, modified and reconstructed units are subject to: Modified units with existing permits in place: Upon startup: Comanche 3 – 0.020 lbs/GWh; Upon startup: Lamar 4 – Bit. Coal 0.020 lbs/GWh or Subbit. Coal 0.097 lbs/GWh; and Upon startup: Craig 3 – 0.066 lbs/GWh. Future modified units: Upon startup if <12/31/14: 0.0174 lb/GWh or 80% inlet Hg capture. Upon startup if >1/1/15: 0.0087 lb/GWh or 90% inlet Hg capture. Future new or reconstructed units: Upon startup: Best Available Mercury Control Technology Standard 95% Hg capture goal; and 90% Hg capture minimum. The rule provides for an Alternative Standard (a.k.a. “soft landing”) to be established if a unit demonstrates to Colorado that it cannot meet the applicable standard. This rule also allows averaging of units at the same plant, except for new and reconstructed units. Finally, this rule largely incorporates CAMR’s Hg monitoring requirements, including the 1/1/09 monitoring date, with the some exceptions (see comments). | Dena Wojtach (303) 692-3147 dena.wojtach@state.co.us Theresa Amoroso (303) 692-3111 theresa.amoroso@state.co.us | Rule adopted on 2/6/07; revised 10/18/07 to address new, modified and reconstructed units; revised 11/20/08 to incorporate Hg monitoring. See Regulation 6, Part B, Section VIII (http://www.cdphe.state.co.us/regulations/airregs/100108stationarysources.pdf ). Hg monitoring exceptions: Units that shut down prior to January 1, 2014 are exempt from Hg monitoring requirements. Units that have Hg permit terms and conditions as of November 20, 2008 shall follow their permit requirements specific to Hg monitoring. Units are not required to use data substitution routines, and instead report measured actual Hg emissions to Colorado. Units are not required to follow Electronic Data Reporting requirements, and instead submit written quarterly and annual summary reports to Colorado. Units are not required to follow the NIST Traceability Protocol, relating to Hg CEMS certifications. NIST Traceability Protocol requirements are not applicable in Colorado until EPA finalizes the protocol and Colorado adopts those requirements. Units are not required to follow CEMS QA/QC testing, reporting and recordkeeping of Hg related monitoring equipment (stack flow monitor, CO2 monitor, moisture monitor) already regulated under the Acid Rain Program. |
| Montana | Montana finalized a state rule for mercury control from EGUs in October of 2006. It requires the following starting January 1, 2010: Compliance with 0.9 lb/TBtu mercury limit, calculated as a 12-month rolling average for non-lignite facilities or 1.5 lb/TBtu mercury limit for lignite facilities application for and approval by Montana DEQ of a mercury control strategy (applications required by January, 2009; all but one have been approved and finalized, the last will be final on 7/16/09). By July 1, 2011, facilities may apply for an alternative emission limit (AEL, with a ceiling in rule) if unable to meet original emission limit. All EGUs are subject to an every 10-year mercury BACT analysis (EGUs with approved AELs must provide BACT analysis by January 1, 2014 instead of waiting the full ten years initially) | Debbie Skibicki (406) 444-1472 dskibicki@mt.gov | Regulation: Administrative Rules of Montana 17.8.771 http://deq.mt.gov/dir/legal/Chapters/CH08-07.PDF With the federal vacature, MT has put significant work with its regulated community into developing Hg monitoring strategies that are effective and make sense out of what is left of Part 75. All of the EGU permits now contain mercury-monitoring attachments that will probably be refined over time. |
| North Dakota | ND is awaiting the promulgation of the new federal MACT rule for EGUs. | Tom Bachman (701) 328-5188 tbachman@nd.gov |  |
| South Dakota |  |  |  |
| Utah |  |  |  |
| Wyoming |  |  |  |
| Region 9 |
| Arizona |  |  |  |
| California |  |  |  |
| Hawaii |  |  |  |
| Nevada |  |  |  |
| Region 10 |
| Alaska |  |  |  |
| Idaho | Idaho has no applicable EGUs. | Carl Brown (208) 373-0206 Carl.brown@deq.idaho.gov |  |
| Oregon |  |  |  |
| Washington | We are awaiting the promulgation of the new federal MACT rule for EGUs. | Elena Guilfoil 360-407-6855 guilfoil.elena@ecy.wa.gov | Our existing EGU is volunteering to install some kind of control technology. |

# Footnotes

Please provide updates to this table to Mary Sullivan Douglas of NACAA at mdouglas@4cleanair.org.